Note:

Be sure to rifle through

all of the packaging for

components of your new

EarthTides.

1. Stainless Steel Plates

2. Stainless Steel Probes

3. Probe Cables with a Yellow Band

4. Plastic Clip to secure the

height of the plates in the water

5. An extra nylon bolt, nut and spacer

6.   The  power cable

EarthTides

earthtides.net

Contact me if you need  help.

Christopher Cody

earthtides@protonmail.com

602-727-6321

Two Body Cleansing Technologies

in One Dependable Device

1. Ionizing Body Detox: for toxins, chemicals, pharmaceuticals, heavy metals.

2. Micro-Current Device: (Yellow Banded Cable)  for fungus, candida, bacteria, viruses and other pathogens.  This micro-current device has also been useful in helping the body reduce/eliminate chronic pain in the joints, muscles and other parts of the body.

# Safety

1. Safety is our number one concern.  This device is safe and has many safety features.  One teaspoon of salt is all you need.  Never arc or touch the flat plates together.  If a fuse blows more than once or the circuit breaker continues to activate, that means that something is not right.   If you use too much salt, the circuit breaker will activate and shut off.  The blue light will remain on but there will be no bubbles being made in the water.  Remember the unit works well with one teaspoon of salt.

2. If you use a pacemaker, the chances that this device would reprogram it is very, very remote.     There are a handful of natural herbs that you can use that help cleanse the body.

3.  If you are pregnant, you may want to get professional advice about cleansing your body at this time using the ionic foot bath.

4.  If you are taking medication to balance critical components of your body, you may want to consult a physician before you start cleansing with EarthTides. It will cleanse your body of chemicals and medications. Your physician may recommend a specific strategy for the use of EarthTides and the intake of your specific medication.

5.  If the plates touch each other or if you arc the plates with metal, they will spark and an automatic circuit breaker goes into effect.  To reset the circuit breaker, separate the plates or remove whatever metal arced the plates and push the circuit breaker button on the front panel.

# Parts:

1. EarthTides device  (Black Plastic Enclosure)

2. Stainless Steel Array.  Two bolted Plates with cable.

3.  A pair of stainless steel solid round rods for the Micro-Current device.

4. A Yellow banded pair of cables (black and red)used with the micro-current device.  It has a phone plug on one end which plugs into the phone jack on the right hand side of the front panel.

5. A plastic clip to secure the plates so the nylon bolts stay above the water.

6. An extra fuse found in the fuse drawer just below the green switch on the back panel. Pry out the small drawer with a very small screwdriver or hair clip to change the fuse.  The extra fuse is found in the square cubbyhole of the small drawer.

7. An extra nylon bolt, spacer and nut in the event one gets lost.

# Ionizing Detox Instructions

1.Purchase a plastic tub (Do not use copper or any metal tub)  to fit your feet/arms.

2.Fill the plastic tub with about 2 ½ - 3 inches of water and one teaspoon of salt.  DO NOT USE EPSOM SALT.  Ionization is compromised and no hydroxides will be created using Epsom Salt.

3.  Plug EarthTides into a 120volt outlet.

4. Put the plates into the water leaning them as shown.  Use the clip as shown so the banana plugs and nylon bolt stay out of the water. This protects them from early corrosion. The metal plates should be placed opposite the person whose feet are in the water.  The water level after the person's feet are in the water should be just UNDER the nylon bolt and nut.  These plates do not cause a shock to hand or feet.

5. Plug the cables of the stainless steel plates into the front panel.  The cable that is plugged into the black jack on the front panel is connected to the plate that will be oxidized during that session. Over time, one plate will get smaller.  Remember to plug the cable of the larger plate into the Black jack on the front panel so that the plates wear out evenly over time.   Eventually the plates wear out by getting rougher and smaller.  Eventually the plates get so small that they are difficult to work with.  It’s time to order another set.  http://earthtides.net

6. Turn on the device using the switch at the back of the unit and watch how bubbles begin to flow from the metal plate that is connected to the cable that is plugged into the black jack on the front panel.  Ionization is taking place and hydroxides are being created in the water. These hydroxides have a negative charge and they are neutralizing the positive charge on toxins, chemicals, heavy metals, pharmaceuticals, drugs and other anomalies in your body so they are no longer stuck and your body can now release them through the natural processes associated with urine, feces and sweat.  The fan will turn on when the inside of the transformer reaches 114 degrees.  This is normal. It will turn off when the temperature drops below 114 degrees.

7. Put your feet in the tub for 45 minutes. On another day you can alternate your arms 20 minutes right and 20 minutes left. If you have an open cut or sore, the stinging sensation will subside within a couple of minutes.

8. Turn off EarthTides using the switch at the back of the unit and pull out your feet, rinse and dry them.

9. Dump the water. Wash the plates entirely, including the small bolts and nuts, with a dish washing brush and a little dish soap. Rinse well.

10. After the foot bath, take plenty of natural vitamins, minerals, trace minerals, Essential Fatty Acids, like Omega 3 and eat well. Drink a lot of pure clean water. Do your own research on the nutritional needs of the body.

# Instructions for Micro-Current Device

The Ionizing Body Detox and the Micro-Current Device can be run separately or together. If run together be aware that with your feet in the water the flow of electrons has half the resistance and will irritate sensitive skin.  It is recommended  that when you have your feet in the water to simply hold the probes in your hands.

1.  Plug in the YELLOW Sleeved Cord into the large jack on the face of the device.

2.  Plug in the two banana plugs located at the other end of the YELLOW Sleeved Cord into the back of the Stainless Steel rods. IT DOES NOT MATTER WHICH rod IS CONNECTED TO WHICH BANANA PLUG.

3.  Wrap the rods in paper or very thin cotton cloth and wet them well with water.

4.  Turn on the device using the switch in the back.

5.  Hold the rods one in each hand with the hands separated.  If the two rods should happen to touch each other, the device will not be damaged. However, don't hold them together for long periods of time.

6.  The rods can direct the flow of energy to any part of the body by placing the black wired rod to point 'a' and the red wired rod to point 'b'. 'a' can be the stomach and 'b' can be the back on the opposite side of the body. 'a' can be in your mouth and 'b' can be anywhere on the body. 'a' can be under your right arm and 'b' can be under your left arm.  Move the rods from place to place every few minutes to avoid irritation. Any redness to the skin will disappear quickly.

7. To address cavities and gum infection, put the rods wrapped in wet paper towels, into your mouth on the lateral and medial sides of your teeth.  Do each quadrant from about 5 minutes and then  do the front teeth. Avoid touching the rods together as much as possible.

8. To address eye infections, put the black rod into your mouth and the red rod on the eye lid of your closed eye.  This is done laying down.  Be sure the paper towel on the eye lid is soaking wet. 10 minutes should be enough time unless the infection is severe as more time will be needed.

9.  To address different organs of the body...put the black rod into your mouth and the red rod just below the organ.  By putting the black rod into your mouth you are assured that the flow of electrons is going inside of your body.  Most of the organs can be addressed by putting the red rod just above the pubic bone for a few minutes and then move it 2-3 inches to the right repeating this all the way around your body.

10. To address the whole Digestive track, put the black rod into your butt and the while rod into your mouth for about 30 minutes.  This is done laying down.  Lubricant  is recommended to make it easier.

1. (Water Ionizing Body Detox)

Good reasons to do an EarthTides Detox:

1.  This experience feels great as your body  shifts from a sympathetic mode (Fight/Flight) to a parasympathetic mode  (Relax, heal and digest).

2. This experience frees your body of chemicals, toxins, pathogens, parasites, fungi, heavy metals and those things that do not naturally belong to your body.

Remember the feelings your body experienced the last time you strolled along the beach watching the waves as they broke along the shore. These waves carry enough kinetic energy to ionize water. The power of the waves knocks off the covalent electron from the water molecule, which releases a hydrogen modecule leaving the negatively charge molecule  (OH Hydroxide)  in the water along the beach.

All foreign matter in the body is attached with a positive + charge.  By means of the negatively charged ions in the water, the  positively charged toxins in your body get neutralized and the toxins flow out of your body via the pores in your skin, sweat, urine and feces for the next 24 to 72 hours.

The EarthTides creates the same ionic reaction in a small tub of water by passing electrons across two stainless steel plates that are placed in the water. The water molecules between the plates lose their covalent negative electrons which stay in the water and the hydrogen floats to the surface of the water in the form of gas.  The negative potential of the ionized water neutralizes positive ions in your body that are connected to toxins, chemicals and heavy metals and your body releases these through the lymphatic system, digestive tract and pores of the skin. There has  been a lot of evidence to suggest that some toxins, heavy metals and chemicals may also come out in the water as well. This process leaves the body in a more alkaline state because the toxins and chemicals that are eliminated are acidic.

During this whole process the autonomic nervous system shifts from (Fight or Flight) sympathetic mode to (Relax, Digest and Heal) para-sympathetic mode.

2.  (Micro-Current Device) EarthTides also comes with a Micro-Current Device.  Using the stainless steel probes, you can direct the flow of electrons anywhere in your body.  This subtle flow of electrons  changes the terrain of your body such that fungi, bacteria, viruses, parasites and other pathogens are not able to sustain themselves in this new environment.

Wrap the probes with two layers of a paper towel and wet them well.

–-By placing the probes under the arm pits you affect the lymphatic system, lungs and blood.

–-By placing them in your mouth, one probe on the lateral side of the teeth and the other on the medial side, you affect the gums and the teeth.

–-By placing one probe on the stomach and the other on the back, you affect the stomach and intestines

–-By placing the black probe in your mouth and the other probe just below an organ, you run electrons through that organ.

For more information,  go to:

Earthtides.net

# Plate Positioning for EarthTides

Note:  Never use a metal tub.  Always use plastic or glass.  The plates must remain parallel and separated when the unit is on.  Be careful never to arc any metal across the plates while the unit is on...like setting the plates on aluminum  foil or touching both plates with metal of any kind…a spoon, a knife, a screwdriver etc etc.   This will cause sparks which will blow the fuse on the left hand side of EarthTides which stops the flow of current to the plates. Note: The blue LED does not shut off when this happens.   If this should happen, turn off the device and clear the plates of all metal obstructions and replace the fuse with a 5amp DC fuse that can be purchased at any automotive store.  Your EarthTides will start back up again when you turn it on.

………………………………………………………

EarthTides’s stainless steel plates are now integrated with the cables and two bolts to prevent the plates from touching each other.

1.  Notice the plastic clip and how to secure the plates by securing the wire against the tub so the nylon bolts and banana plugs stay above the water.  Also notice that the plates now use two bolts to assure they remain parallel in the water.

2. You can take the plates apart  to facilitate cleaning the plates and rinsing the cables where they are attached to the plates.

3. Plug the cables of the stainless steel plates into the front panel. It does not matter which cable plugs into the black or red jack. The cable that is plugged into the black jack on the front panel is connected to the plate that will be oxidized during that session. Over time, one plate will get smaller. Remember to plug the cable of the larger plate into the Black jack on the front panel so that the plates wear out evenly over time.   Eventually the plates wear out by getting rougher and smaller.  Eventually the plates get so small that the ionization process is compromised and a new set of plates is required.

4.  When these plates get too small to use, you can purchase a new set with cables online at the Market Place for $68 which includes shipping anywhere in America.

5.  These oval plastic tubs are perfect for this ionizing body detox.  The handles make carrying and dumping the water very easy.  The 99 Cent Plus Store sells them for $1.99.

For more information on EarthTides, visit

http://earthtides.net

Checking and Changing the Fuse

1. If for some reason your EarthTides does not go on when you turn on the switch, the fuse may be blown.  If the house current spikes too much the fuse may blow.   This is a protection. The fuse box is on the top panel between the switch and the female plug in.  Be sure to use a

Fast Blow 5 Amp Fuse

5mm x 20mm

2. Open the fuse drawer found between the switch and the female power point.    I have included an extra 5 Amp fuse in the cubby hole of the fuse drawer.

3. With a small screw driver or even a long nail, pry the small drawer open by pushing the top of the screw driver against the lip of the fuse box which forces the drawer to pop out.

4. Take out the old fuse and inspect it. It the glass is dark or the fine filament is compromised, throw it out.  Put in a 5 amp fast blow fuse.  The little square cubbyhole can hold an extra fuse. You can buy extra fuses on line, at Ace Hardware or most other hardware stores.  Most auto part stores carry them as well.

5.  Slide the drawer back in the slot. It can only be inserted one way.

The  Side Fuse

On the left hand side of the enclosure you will find another fuse that limits the current that goes into the water to 5amps.  Too much salt or touching the plates together with a conductor will blow this fuse.  Any automotive store has this 5amp DC fuse.

Cleansing Benefits of EarthTides

As the Body is Cleansed, the body does the following things:

| Increases it's cellular vitality Boosts it's energy Eliminates viruses like the flu Eliminates bad bacteria Eliminates parasites Enhances it's immune system Purifies it's blood Clears the lungs Clears the bronchials Neutralizes bug bites Speeds it's own healing Improves digestion Heightens clarity of mind Eliminates candida Eliminates infection Heightens it's alertness Detoxifies it's cells Speeds recovery Eliminates lactic acid Speeds athletic recovery Strengthens immune system | Eliminates bad microorganisms Balances body pH acid/alkaline Relaxes more Purifies it's liv/er Improves nerve communication Cleans it's lymphatic system Eliminates worms Fights lymes disease Fights shingles Fights fibromayalgia Fights Epstein Barr Eliminates heavy metal toxicity Eliminates chemicals Eliminates pharmaceuticals Eliminates alcohol buffer Releases stress Eliminates cavity bacteria Eliminates gum infection Restores gum growth Eliminates eye infections Clears toxic lymph nodes | Improves hormonal balance Improves breathing Eliminates toxins Eliminates inflamation Eliminates arthritis Eliminates ring worm Eliminates roung worms Eliminates throat infection Purifies it's skin (Jot down your notes here) ____________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________________ |
| --- | --- | --- |

When using the Ionic Body Detox,, put your arms in the water as an alternative method.  It pulls immediately from the head, shoulders, back, breast and arms. The lymphatic system is effected greatly.

Put the wet paper napkin covered probes into your mouth, one on each side of the teeth within the quadrant. Usually two wraps of paper towel is enough.  If you are very sensitive put 3-5 wraps.  Your body will get rid of cavities, infection of the gums and increase gum growth.  This process completely changes the terrain of your mouth and your body heals itself.

Put a very wet paper napkin covered probe on your closed eye (white wired probe), and a wet paper napkin covered probe into your mouth (black wired probe).  Your body will get rid of all kinds of eye infections.  This process is done laying down.  It's much easier.  Allow a lot of water to build up in and around the eye.  This process changes the terrain of the whole eye and the body heals itself.

Change the terrain of different parts of your body to eliminate infection by putting the black wired probe into your mouth, (This insures that the electrons go into the body) and by putting the white wired  probe on external parts of the body depending on the organs you want to effect.  Liver-right hip, Pancreas-left hip, Lungs-inferior left cage/right cage, Stomach-belly button, Intestines-pubic bone left/right.  Intestinal tract,  Black probe in the anal sphincter( no paper), White probe in the mouth 25 minutes.  Move the probes in your mouth from time to time to avoid irritation and redness.

Probe Assembly

The assembly of the probes is simple.

Wrap each probe in a dry paper towel and wet it thoroughly with water.  Wrap the probe with one end open and one end closed.  Keep the layers of paper to two or three.  Some sensitive  people wrap them with 3 - 4 wraps when using them in the mouth. The more wraps, the less voltage and current.

There is a 1 minute video on the website that shows an easy way to do this. Using the cable with the yellow band, plug in each banana plug (one red, one black) into the open end of each one of the probes.  The phone plug with the yellow band plugs into the phone jack on the front of the panel of EarthTides as shown.